## Slide 1: Day in the Life: Compliance Officer
Charles J. Chacko
Compliance Officer
Office of Medical Device and Radiological Health Operations (OMDRHO), Division 3
Office of Regulatory Affairs
U.S. Food and Drug Administration

## Slide 3: Presentation Series: Day In the Life
5 Modules
  Introduction
  Consumer Safety Officer
  Supervisory Consumer Safety Officer
  Compliance Officer
  Recall Coordinator

## Slide 4: Learning Objectives
Describe the responsibilities of a compliance officer
Explain what happens after FDA completes an inspection
Discuss the various regulatory actions FDA may take and the factors used to guide which ones to use
Identify various tips for effective communication between a firm and FDA involving a regulatory action

## Slide 5
Compliance Officer Responsibilities

## Slide 6: Compliance Officer Responsibilities
Review and evaluate evidence and findings from an inspection
Determine the most suitable course of action
Recommend regulatory action(s) to the responsible FDA Program Center
Monitor and manage case enforcement actions
Interact with various levels of FDA officials

## Slide 7: Compliance Officer Responsibilities
Meet with industry representatives
Ensure that non-compliant establishments make necessary changes toward compliance
Answer inquiries from federal, state, and local agencies
Handle compliance related inquiries

## Slide 8
What Happens After an Inspection
is Completed

## Slide 9: Post-Inspection Process Investigations Branch
CSO writes EIR + provides evidence
SCSO endorses EIR, recommends action to CB
DIB reviews
DIB = Director of Investigations Branch
SCSO = Supervisory Consumer Safety Officer
EI = Establishment Inspection
CB = Compliance Branch
CSO = Consumer Safety Officer
EIR = Establishment Inspection Report

## Slide 10: Post-Inspection Process Compliance Branch: Compliance Officer & Director
483 &
Evidence
Firm
Response
History
Compliance Decision/Regulatory Strategy
Regulatory History
Benefit
Risk
Corrective Actions

## Slide 11: FDA Form 483 Review Process
Review firm responses to Form FDA 483
Provide Acknowledgement Letters

## Slide 12
Supporting a Regulatory Action

## Slide 13: Supporting a Regulatory Action
Significance of violations
Evidence
Demonstration of ongoing violations
Prior warning and promised corrections

## Slide 14: Regulatory Procedure Manual (RPM) Factors to Consider
Evidence shows that a firm, product, and/or individual:
  is in violation of the law or regulations and
  failure to achieve adequate and prompt correction (may result in consideration of an enforcement action)
Violation is determined to be of regulatory significance
Issuance of a Warning Letter is appropriate
Reasonable expectation that responsible party will take prompt corrective action
General Considerations:

## Slide 15: RPM: Factors to Consider
Firm’s compliance history
Nature and impact of violations
Benefit and risk associated with product
Documentation of firm’s adequate, systematic and effective corrective action
  Ongoing or promised corrective action does not preclude issuance of a Warning Letter or other regulatory action
  Corrective action describes timeframe
  Corrective action produces sustained compliance with the law or regulations

## Slide 16: RPM: Factors to Consider
Completed Corrective Actions
Do not preclude consideration of regulatory action should ORA later observe that same or similar violations have not been corrected
Acknowledgement Letter
Alternative form of FDA communication
States that FDA has relied on firm’s actions and/or promises
Will include this statement:
  “This letter and the inspectional observations listed on Form FDA-483 are not intended to indicate that the FDA will or will not take any particular regulatory or administrative action with regard to this matter. You are reminded that it is the responsibility of your firm’s management to maintain compliance with all applicable provisions of the Federal Food, Drug, and Cosmetic Act and its implementing regulations.”

## Slide 17: RPM: Factors to Consider
Verification of Corrective Actions
Overall completeness and effectiveness of corrective action
Expedited or routine follow-up inspection is typical

## Slide 18: Case Action Steps Flow Diagram
Insp. = Inspection
OAI = Official Action Indicated
CB = Compliance Branch
IB = Investigations Branch

## Slide 19: Compliance Action Tools
FDA Recalls
Untitled Letter
Warning Letter
Product Seizure
Injunction
Regulatory Meeting
Prosecution
Civil Penalties
Detention

## Slide 20: Warning Letter
Is an Advisory Action taken to achieve prompt voluntary compliance
Ensures scope and seriousness understood by firm
Describes/lists violations of FD&C Act, 21 CFR
Often has precedent cases (e.g. Dotterweich & Park)
Provides “Prior Notice” for other actions (e.g., court enforcement)
Requires FDA Center Concurrence for certain violations
– e.g. 510(k)/PMA, labeling/claims, novel technologies
Does not require FDA Center Concurrence for GMPs
Is made public – posted on FDA’s website
GMPs = Good Manufacturing Practices
PMA = Post-Market Approval
510(k) = Pre-Market Clearance

## Slide 21: Warning Letter
Warning Letters issued per year on average
  About 30 domestic
  About 40 foreign
Approximately 7 out of 10 Warning Letters for Quality Systems fall into 2 subsystems:
  Production and Process Controls
  Corrective and Preventive Action

## Slide 22: Regulatory Meeting
Informs firm and its responsible individuals of its violative products, practices, and processes
Allows real-time dialogue to address issues and obtain voluntary compliance
Provides prior notice and discusses sanctions available for issuing other actions
Informs attendees that FDA staff cannot serve as consultants
Reiterates agency’s expectations and firm’s obligation to come into compliance

## Slide 23: Other Actions
SEIZURE – vs. “the product”
  An action brought against an FDA-regulated
  product because it is adulterated and/or
  misbranded within the meaning of the FD&C Act
INJUNCTION – vs. “the behavior & individuals”
  An order by a court requiring an individual or a
  corporation to do or refrain from doing a specific
  act

## Slide 24: Other Actions
PROSECUTION – vs. “the individual”
  May be recommended in appropriate cases for violation of Section 301 of the FD&C Act.
CIVIL MONEY PENALTIES
ADMINISTRATIVE DETENTION ORDER
  Administrative detention provides a means through which FDA can hold adulterated or misbranded products (e.g., foods, medical devices) and prevent them from entering the marketplace.

## Slide 25
Compliance Case Flow
Case Study: Gas Analyzer

## Slide 26: Compliance Case Flow
Product: Gas Analyzer
Pre-Inspectional Preparation
  Determining the type of establishment inspection
  Review establishment firm files
  Review firm’s inspection/compliance history
  Review FDA’s procedures and guidance manuals
Intra-Inspection Review
  FDA Form 482

## Slide 27: Compliance Case Flow
Inspectional Close-out/FDA 483 (IB):
- GMPs and labeling evidence
- Annotate FDA 483
Form FDA 483 response (Firm)
- 15 business days requirement
Violations of the Act (CB)
- GMPs + Lack of 510(k)
- Labeling claims: brochure, instructions for use, website, social media
IB = Investigations Branch
CB = Compliance Branch
GMPs = Good Manufacturing Practices
510(k) = Pre-Market Clearance

## Slide 28: Compliance Case Flow
Post-Inspection Activities (CB)
- Forms of communication
Regulatory Action – i.e. Warning Letter
- Firm, product, and/or the individual is in violation of the law
- Failure to achieve adequate and prompt corrections
- Violations are determined to be of regulatory significance
- FDA has reasonable expectation the firm will take prompt corrective action
- Request firm submit a response within 15 business days
Post-Regulatory Activities: Firm and Consultant
CB = Compliance Branch

## Slide 29: Compliance Case Flow
Post-Regulatory Reinspection
Post-Regulatory Other Action
  Regulatory Meeting
  510(k) status?
Ideal Outcome: Voluntary Compliance

## Slide 30
Tips for Firms to Effectively Respond to Regulatory Actions

## Slide 31: Understand Your Product’s Requirements
How is your product classified?
Does your product require a premarket submission before getting to market?
What are your reporting requirements?
What are your Quality System Requirements?
What are your label and labeling requirements?
Do you have a website or social media?

## Slide 32: Tips for Effective Responses
Annotate; make corrections during Establishment Inspection
Address each observation/deficiency
Be comprehensive and accurate
Perform an effectiveness check on CAPAs
Show evidence of correction and corrective actions
Update/revise Standard Operating Procedures; show both before and after versions
CAPA = Corrective and Preventive Action

## Slide 33: Tips for Effective Responses
Set realistic dates, provide timetable, and meet timeframes
Work closely with ORA Compliance Officer
Address all discussion items
Address any premarket issues discussed during Establishment Inspection
ORA = Office of Regulatory Affairs

## Slide 34: Device Resources
FDA Guidance
  www.fda.gov/medical-devices/device-advice-comprehensive-regulatory-assistance/guidance-documents-medical-devices-and-radiation-emitting-products
CDRH Learn: Multi-Media Industry Education
  www.fda.gov/training-and-continuing-education/cdrh-learn
Device Advice: Text-Based Education
  www.fda.gov/medical-devices/device-advice-comprehensive-regulatory-assistance
Division of Industry and Consumer Education (DICE) DICE@fda.hhs.gov
Ombudsman (e.g., dispute resolution) ORAOmbudsman@fda.hhs.gov and CDRHOmbudsman@fda.hhs.gov

## Slide 35: Summary
Compliance Officers roles are critical to protecting the consumer
ORA issues advisory and enforcement actions as a result of the product’s health risk and violation of law
ORA’s Compliance Branch communication strategies and risk-based enforcement actions help to reduce and prevent patient harm
Compliance cases aim to ensure a positive public health outcome

## Slide 36: Your Call to Action
Understand your regulatory responsibilities
Stay informed and use various FDA resources
View other modules in this series to learn more about the individual OMDRHO staff roles
OMDRHO = Office of Medical Device and Radiological Health Operations

## Slide 37: Presentation Series: Day In the Life
5 Modules
  Introduction
  Consumer Safety Officer
  Supervisory Consumer Safety Officer
  Compliance Officer
  Recall Coordinator