Oncology Pilot Clinical Trial Assay Template:

Sanger Sequencing Tests

For Collection of Performance Validation Data

SCOPE: This template is intended for use by oncology drug sponsors in the Food and Drug Administration’s (FDA) voluntary pilot program described in FDA’s guidance document “Oncology Drug Products Used with Certain In Vitro Diagnostic Tests: Pilot Program.” In this and other templates, FDA is providing recommendations regarding data and information that should be submitted to FDA regarding clinical trial assays (CTAs) used in the pivotal clinical trial(s) for oncology drug product(s) for the pilot program. This template is specific for CTAs that use Sanger Sequencing (SS) technology. Templates for CTAs that use other technologies can be found on FDA’s website.

The CTA templates are intended to help oncology drug sponsors and CTA developers collect and provide validation information and performance characteristics for the CTAs, but alternative approaches can be used. To discuss an alternative approach, please contact OncologyPilotCDRH@fda.hhs.gov.

This template reflects FDA’s current thinking on the topic, and should be viewed only as recommendations, unless specific regulatory or statutory requirements are cited. The use of the word should, means that something is suggested or recommended, but not required.

As described in FDA’s guidance document, oncology drug sponsors interested in participating in the pilot program should submit a statement of interest to their Investigational New Drug (IND) application, New Drug Applications (NDA), or Biologic License Applications (BLA), as appropriate. The statement of interest should include a statement affirming the oncology drug sponsor’s commitment to provide the information recommended in this template for CTAs used in their pivotal clinical trial(s) and the additional information described in the guidance. Upon receipt of the statement of interest, FDA will follow up with no more than 9 sponsors to request specific information, including the information identified below, to enable FDA to make a decision concerning acceptance into the pilot, based on evaluation of the factors outlined in FDA’s guidance document and provide written feedback that either accepts or rejects the drug product for the pilot program.  This template should be used to provide the information recommended in this template only when requested by FDA.

GENERAL INFORMATION ABOUT THIS TEMPLATE

- When requested by FDA, oncology drug sponsors who have submitted the statement of interest described above should complete the information below, as applicable, using the blue fillable fields. Hot links are provided to navigate to and from sections where data entry into tables is recommended; these data tables are provided in the Appendix.

- Alternatively, oncology drug sponsors have the option of providing the recommended information by submitting documentation from the laboratory that performed the CTA, such as standard operating procedure (SOP) and a summary of test validation.

General Laboratory Information

- Laboratory name and address: Enter laboratory’s name and address

- Laboratory contact name and email: Enter person’s name and email address

- Test name: Enter test name

General Test Information

Test information

Please provide a general description of the test including:

  - Is the test/CTA commercially available? ☐ Yes; ☐ No

    - if yes, provide the following information:

      - name of the kit and manufacturer: Enter kit name(s) and manufacturer(s) here

      - if any modifications to the kit were made, describe them: Summarize here

    - if not, provide the following information:

      - analyte(s) (e.g., variants in the protein coding region and exon/intron boundaries of the BRCA1 and BRCA2 genes using DNA): Enter analyte(s)

      - test method, including specimen type (e.g., dideoxynucleotides tagged with specific fluorescent dyes in formalin-fixed paraffin-embedded [FFPE] breast tumor tissue): Enter test method including specimen type

  - CTA components (e.g., buffers, reaction mixes, enzymes) Enter CTA components

  - Extraction method(s): Enter extraction method(s)

  - List primer sequences used: List sequencing primers

- Amplification:

    - provide amount of DNA/RNA input used for the amplification: Enter DNA/RNA amount

    - list size of amplicon: Enter amplicon size(s)

    - provide location of target sequence in gene (forward/reverse PCR primer(s) and intron/exon gene locations): Enter location of target sequence

- Instrument(s)/platform(s) used: Enter instrument/platform used

- Minimum tumor content (if applicable): Enter amount

- Minimum nucleic acid input/range for the sequencing reaction: Enter amount/range

- Describe the positive control, its use, and what it measures: Positive control

- Describe the negative control, its use, and what it measures: Negative control

- Provide the reference sequence used for alignment: Provide reference sequence ID

- Provide a brief summary of the software used to analyze sequence data: Summarize software and version here

Determination of calling rules & clinical cut-off

- Please provide the prespecified variant classification rule(s) used to identify the presence or absence of an analyte: Enter rules

- Please provide the quality checkpoints and pass/failed criteria in Table 1.

- Briefly summarize the prespecified clinical cut-off that was used to enroll subjects in the clinical trial: Summarize here

Validation Studies

- Samples used in the validation studies

  - If surrogate samples (e.g., sample blends, spiked blood) were used, please provide a summary on how they were constructed: Summarize here

  - If reference samples (e.g., Genome in a bottle) were used, please provide information on their source: Summarize here

  - Provide numbers of the different sample types used in each validation study in Table 2.

Comparator/orthogonal method(s)

- Please provide information on any comparator and/or orthogonal method(s) used to characterize samples and/or validate the CTA, and the study(ies) they were used for in Table 3.

- If laboratory developed test(s) were used:

    - please provide the laboratory name(s) and address(es): Enter laboratory’s name(s) and address(es)

    - please provide the stated accuracy of the comparator method(s): Enter accuracy

Analytical accuracy - concordance

Analytical accuracy of the CTA is determined relative to a reference method or validated comparator method (orthogonal method). If a comparator method is used, it should target same variant(s) and have similar sensitivity to that expected from the CTA (based on the test method and/or previous analytical testing). Well characterized samples should be tested with both the CTA and the comparator method.

Please provide the following information:

- Briefly summarize the study design, including the statistical/data analysis methods used to determine analytical concordance: Enter summary

- What variant allele frequencies (VAF) were used in this study: Enter VAFs

- Positive percent agreement (PPA) and negative percent agreement (NPA) between the CTA and the comparator method should be calculated for the representative variant(s) and gene(s) and for panel-wide accuracy, as applicable. Provide concordance summary data in Table 4.

Limit of detection (LoD)

Limit of detection (LoD) is determined as the lowest amount of genomic target that the test can consistently detect with a stated probability. LoD can be stated as the lowest VAF the test can detect for short variants (e.g., SNVs and indels).

Please provide the following information:

- Briefly summarize the study design, including the statistical/data analysis methods used to determine LoD: Summarize here

- List how many reagent lots were used in the LoD establishment and/or confirmation study: Enter number

- Provide a summary of results in Table 5.

Precision

Precision studies are performed to evaluate sources of variation in the test procedure to determine the repeatability and reproducibility of the assay.

Please provide the following information:

  - A brief study design (e.g., full factorial): Summarize here

  - Runs: Enter number

  - Days: Enter number

  - Instruments: Enter number

  - Reagent lots: Enter number

  - Operators: Enter number

  - Number of replicates tested per sample: Enter number

  - Evaluated at multiple sites? ☐ Yes; ☐ No

  - Unless details have been provided above for each biomarker, provide details on the samples tested to demonstrate assay-wide precision for representative variants, including VAF (as applicable): Enter VAF

  - Was the precision study conducted with the end-to-end workflow (i.e., starting from nucleic acid extraction from tissue to determining results)? ☐ Yes; ☐ No

  - If only part of the workflow was included in the precision study, specify what was included: Part of the workflow included in the precision study

  - If only part of the workflow was included in the precision study, provide a rationale: Summarize rationale here

  - Summarize statistical/data analysis methods used to determine assay precision: Summarize data analysis here

  - Provide a summary of PPA and NPA for variant(s) in gene(s) and for assay-wide precision, if applicable, on the variant-, variant type-, and sample-level in Table 6.

Interfering substances

Interfering substances studies evaluate the effects of potentially interfering endogenous and exogenous substances on assay performance.

Please provide the following information:

- Briefly summarize the study design, including the statistical/data analysis methods used to evaluate interfering substances: Summarize here

- Provide a summary of results for each interfering substance tested in Table 7.

Exclusivity/cross-reactivity

Exclusivity/cross-reactivity studies evaluate the specificity of the primers or probes used to target specific genes and/or genomic regions.

Please provide the following information:

- Briefly describe the exclusivity/cross-reactivity study performed: Provide description

- Provide a summary of in silico cross-reactivity with non-target regions: Summarize here

Stability

Stability studies are conducted to support storage conditions, including the duration of storage, for specimens, and stored intermediate products, as applicable.

Please state the stability for:

- Primary specimens Enter condition(s) and duration(s):

- Intermediate specimen products (e.g., PCR product, Sanger sequencing product): Enter condition(s) and duration(s)

Appendix: Data Tables

Table 1: List of checkpoints

| Quality Metric | Criterion | Pass/fail value |
| --- | --- | --- |
| Minimum specimen quality | Enter information or data | Enter information or data |
| Signal intensity | Enter information or data | Enter information or data |
| Signal to noise ratio | Enter information or data | Enter information or data |
| Minimum PHRED score | Enter information or data | Enter information or data |
| Maximum ambiguous bases | Enter information or data | Enter information or data |
| Minimum number of forward/reverse strand reads | Enter information or data | Enter information or data |
| Consistency of breakpoint/fusion | Enter information or data | Enter information or data |
| Negative control | Enter information or data | Enter information or data |
| Positive control | Enter information or data | Enter information or data |

To return to “Determination of calling rules & clinical cut-off” click here

Table 2: Number of independent samples used for each validation study

| Studies | Clinical | Reference | Surrogate |
| --- | --- | --- | --- |
| Analytical accuracy - concordance | Enter data | Enter data | Enter data |
| Limit of detection | Enter data | Enter data | Enter data |
| Precision | Enter data | Enter data | Enter data |
| Interfering substances | Enter data | Enter data | Enter data |

To return to “Samples used in the validation studies” click here

Table 3: Comparator/orthogonal method(s)

| For sample | selection or characterization |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Orthogonal method | Information | Analytical accuracy - concordance |  | Limit of detection |  | Precision |  | Interfering substances |
| Name | Enter information |  |  |  |  |  |  |  |
| Technology | Enter information | ☐ Yes; ☐ No |  | ☐ Yes; ☐ No |  | ☐ Yes; ☐ No |  | ☐ Yes; ☐ No |
| Performed in-house | ☐ Yes; ☐ No |  |  |  |  |  |  |  |
| For test | /CTA validation |  |  |  |  |  |  |  |
| Comparator method (If different from the orthogonal method) | Information |  |  | Analytical accuracy |  | - concordance |  |  |
| Name | Enter information |  |  |  |  |  |  |  |  |
| Technology | Enter information |  | ☐ Yes |  | ☐ No |  |  |  |  |
| Performed in-house | ☐ Yes; ☐ No |  |  |  |  |  |  |  |  |

To return to “Comparator/orthogonal method(s)” click here

Table 4: Summary of the analytical concordance between CTA Sanger sequencing (CTA) and comparator (Comp) for the representative variant(s) and gene(s) evaluated for patient enrollment

| Gene, variant and type | Sample type | CTA (+), Comp (+) | CTA (+), Comp (-) | CTA (-), Comp (+) | CTA (-), Comp (-) | Possible variants (n) | Samples (n) | PPA (% CI*) | NPA (% CI*) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Enter gene (e.g., EGFR), variant (e.g., T790M), variant type (e.g., SNV) | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |
| Enter gene (e.g., EGFR), variant (e.g., exon 19), variant type (e.g., deletion) | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |
| Enter gene (e.g., ALK), variant (e.g., NPM1-ALK), variant type (e.g., fusion) | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |
| For assay-wide data |  |  |  |  |  |  |  |  |  |
| Assay-wide SNVs | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |
| Assay-wide indels | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |

* CI: Confidence Interval

To return to “Analytical accuracy – concordance” click here

Table 5: Call/detection/hit rate for LoD

| Sample ID | Gene, variant and variant type | Measurand levels (list examples) | Level selected for LoD (Y/N) | Level (e.g., VAF) | Replicates called (n)/total replicates (n) (%) |
| --- | --- | --- | --- | --- | --- |
|  | Enter gene (e.g., EGFR) | Enter high level | ☐ Yes; ☐ No | Enter data | Enter data |
| Enter information | Enter variant (e.g., T790M) | Enter medium level | ☐ Yes; ☐ No | Enter data | Enter data |
|  | Enter variant type (e.g., SNV) | Enter low level | ☐ Yes; ☐ No | Enter data | Enter data |
|  | Enter gene (e.g., ALK) | Enter high level | ☐ Yes; ☐ No | Enter data | Enter data |
| Enter information | Enter variant (e.g., NPM1-ALK) | Enter medium level | ☐ Yes; ☐ No | Enter data | Enter data |
|  | Enter variant type (e.g., fusion) | Enter low level | ☐ Yes; ☐ No | Enter data | Enter data |

To return to “Limit of detection” click here

Table 6: Variant PPA/NPA summary for precision

| Sample ID | Alteration | Level (e.g., VAF, chimeric reads, tumor content) | Fold LoD (e.g., 1xLoD, 3xLoD) | Number positive / number expected | NPA (% CI) | PPA (% CI) |
| --- | --- | --- | --- | --- | --- | --- |
| Enter information | Enter gene1 and SNV1 variant (e.g., EGFR T790M) | Enter data | Enter data | Enter data | Enter data | Enter data |
| Enter information | Enter gene2 and SNV2 variant (e.g., EGFR L858R) | Enter data | Enter data | Enter data | Enter data | Enter data |
| Enter information | Enter gene3 and SNV3 variant (e.g., EGFR Exon 19 Del, E746_A750del) | Enter data | Enter data | Enter data | Enter data | Enter data |
| For assay- | wide data |  |  |  |  |  |
| Assay-wide SNVs | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data |
| Assay-wide indels | Enter information | Enter data | Enter data | Enter data | Enter data | Enter data |

To return to “Precision” click here

Table 7: Summary results for interfering substances

| Substances | Substance level tested | # Samples | Replicates/ sample | Failure rate* | Detection rate** | Call rate (95% CI) |
| --- | --- | --- | --- | --- | --- | --- |
| Enter information (e.g., no interferent) | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |
| Enter information (e.g., hemoglobin) | Enter data | Enter data | Enter data | Enter data | Enter data | Enter data |

* # of replicate sample failures/# of replicate samples tested; ** # of variant detected/#of variants expected

To return to “Interfering substances” section click here