Oncology Pilot Clinical Trial Assay Template:

Fluorescence In Situ Hybridization Tests

For Collection of Performance Validation Data

SCOPE: This template is intended for use by oncology drug sponsors in the Food and Drug Administration’s (FDA) voluntary pilot program described in FDA’s guidance document “Oncology Drug Products Used with Certain In Vitro Diagnostic Tests: Pilot Program.” In this and other templates, FDA is providing recommendations regarding data and information that should be submitted to FDA regarding clinical trial assays (CTAs) used in the pivotal clinical trial(s) for oncology drug product(s) for the pilot program. This template is specific for CTAs that use fluorescence in situ hybridization (FISH) technology. Templates for CTAs that use other technologies can be found on FDA’s website.

The CTA templates are intended to help oncology drug sponsors and CTA developers collect and provide validation information and performance characteristics for the CTAs, but alternative approaches can be used. To discuss an alternative approach, please contact OncologyPilotCDRH@fda.hhs.gov.

This template reflects FDA’s current thinking on the topic, and should be viewed only as recommendations, unless specific regulatory or statutory requirements are cited. The use of the word should, means that something is suggested or recommended, but not required.

As described in FDA’s guidance document, oncology drug sponsors interested in participating in the pilot program should submit a statement of interest to their Investigational New Drug (IND) application, New Drug Applications (NDA), or Biologic License Applications (BLA), as appropriate. The statement of interest should include a statement affirming the oncology drug sponsor’s commitment to provide the information recommended in this template for CTAs used in their pivotal clinical trial(s) and the additional information described in the guidance. Upon receipt of the statement of interest, FDA will follow up with no more than 9 sponsors to request specific information, including the information identified below, to enable FDA to make a decision concerning acceptance into the pilot, based on evaluation of the factors outlined in FDA’s guidance document and provide written feedback that either accepts or rejects the drug product for the pilot program.  This template should be used to provide the information recommended in this template only when requested by FDA.

GENERAL INFORMATION ABOUT THIS TEMPLATE

- When requested by FDA, oncology drug sponsors who have submitted the statement of interest described above should complete the information below, as applicable, using the blue fillable fields. Hot links are provided to navigate to and from sections where data entry into tables is recommended; these data tables are provided in the Appendix.

- Alternatively, oncology drug sponsors have the option of providing the recommended information by submitting documentation from the laboratory that performed the CTA, such as standard operating procedure (SOP) and a summary of test validation.

General Laboratory Information

- Laboratory name and address: Enter laboratory’s name and address

- Laboratory contact name and email: Enter person’s name and email address

- Test name: Enter test name

General Test Information

Test information

Please provide a general description of the test including:

  - Is the test/CTA commercially available? ☐ Yes; ☐ No

    - if yes, provide the following information:

      - name of the kit and manufacturer: Enter kit name(s) and manufacturer(s) here

      - if any modifications to the kit were made, describe them: Summarize here

    - if not, provide the following information:

- analyte(s) (e.g., ALK rearrangements): Enter analyte(s)

- test method, including:

  - type of measurement: Choose an item

  - fluorescence or chromogenic signal: Choose an item

  - specimen type (e.g., formalin-fixed paraffin-embedded [FFPE] breast tumor tissue): Enter specimen type

- Type of probe(s) (e.g., oligonucleotide): Enter probe type(s)

- Probe design (e.g., dual-color, break apart): Enter probe design

- If fluorescence signal, specify nuclear staining method (e.g., DAPI): Enter nuclear staining method

- CTA components (e.g., probes, buffers): Enter CTA components

- Control probe(s): Describe control probe(s)

- The staining, imaging and FISH analysis platforms: Enter platforms

- Control source material (e.g., control slides) and control description: Enter source and description

- Provide a brief summary of the counting method used for the test (e.g., digitalized software assisted FISH analysis or manual analysis): Summarize here

Scoring methodology & clinical cut-off

- Please provide parameters and detailed instructions for slide review and interpretation of results. Summarize here

- Briefly summarize the prespecified clinical cut-off that was used to enroll subjects in the clinical trial: Summarize here

Validation Studies

- Study bias

Please provide the following information to assess study bias:

- Separate sets of specimens/slides were used for training and validation?

☐ Yes; ☐ No

- All readers were blinded to the specific slide ID and to the specific analytical validation test performed (e.g., inter-day, intra-run) and specimen type and read in an unbaised manner (e.g., with a wash out period)? ☐ Yes; ☐ No

Samples used in the validation studies

  - If surrogate samples (e.g., cell lines) were used, please provide a summary on how they were constructed: Summarize here

  - If reference samples were used, please provide information on their source: Summarize here

  - Provide numbers of the different sample types used in each validation study in Table 1

Hybridization efficiency

Please provide the following information:

- Number of specimens evaluated: Enter number

- Number of nuclei evaluated per specimen: Enter number

- Percentage of total nuclei with signal: Enter percentage

Analytical accuracy - concordance

Analytical accuracy of the CTA is determined relative to a reference method or validated comparator method (orthogonal method). If a comparator method is used, it should be measuring the same analyte with similar sensitivity and be using the same intended use clinical specimens as the candidate test (i.e., the CTA). Well characterized samples should be tested with both the CTA and the comparator method.

Please provide the following information:

    - Briefly summarize the study design, including the statistical/data analysis methods used to determine analytical accuracy: Summarize here

    - The name of the comparator method: Method name

    - The technology of the comparator method: Technology

    - If a laboratory developed test was used as a comparator:

      - please provide the laboratory name and address: Enter laboratory’s name and address

      - please provide the stated accuracy of the comparator method? Enter accuracy

    - Analytical accuracy study performed in-house? ☐ Yes; ☐ No

    - Positive percent agreement (PPA) and negative percent agreement (NPA) between the CTA and the comparator method should be calculated. Provide concordance summary data in Table 2.

Analytical sensitivity

Analytical sensitivity is established by evaluating the lowest percentage of nuclei with the abnormal nuclear FISH pattern that can be reliably detected by the test. This should be calculated using data from normal control samples (normal cut-off value).

Please provide the following information:

- Number of normal specimens: Enter numbers

- Number of nuclei evaluated per specimen: Enter numbers

- Number of readers: Enter numbers

- Briefly summarize the sensitivity data: Summarize here

Analytical specificity

The analytical specificity of the probes for their respective chromosome target loci is established by evaluating the percentage of signals that hybridize to the correct locus and no other location.

Please provide the following information:

- Briefly summarize the study design, including the statistical/data analysis methods used to determine analytical specificity: Enter summary

- Percentage of cells with the expected disease signal patterns: Enter percentage

- Number of specimens: Enter numbers

- Number of nuclei evaluated per specimen: Enter numbers

- Number of readers: Enter numbers

- If the CTA uses chromogenic in situ hybridization (CISH), please provide information from tour of tumor and body studies to:

- demonstrate that the CISH signal was validated by testing tissues or intact cells that do and do not contain the target analyte in the same specimen matrix found in the clinical trial. Enter CISH signal information including specimen type

- demonstrate that for normal tissue and tumor tissue the staining was as expected. Enter data here

- Briefly summarize the specificity data: Summarize here

Precision

Precision studies are performed to evaluate sources of variation in the test procedure to determine the repeatability and reproducibility of the test.

Please provide the following information:

  - A brief study design (e.g., full factorial): Summarize here

- Runs: Enter data here

- Days: Enter data here

- Instruments: Enter data here

- Reagent lots: Enter data here

- Operators: Enter data here

- Pathologist readers: Enter data here

- Replicates per sample: Enter data here

- Please provide summary data in Table 3 of all the results with positive percent agreement (PPA) and negative percent agreement (NPA).

Stability

Stability studies are conducted to support storage conditions, including the duration of storage, for specimens and stored intermediate products, as applicable.

Please state the stability for:

- Primary specimens: Enter condition(s) and duration(s)

- Intermediate specimen products (e.g., unstained tissue sections mounted on a glass slide): Enter condition(s) and duration(s)

Appendix: Data Tables

Table 1: Number of independent samples used for each validation study

| Studies | Clinical | Reference | Surrogate |
| --- | --- | --- | --- |
| Hybridization efficiency | Enter data | Enter data | Enter data |
| Precision | Enter data | Enter data | Enter data |
| Analytical accuracy - concordance | Enter data | Enter data | Enter data |

To return to “Samples used in the validation studies” click here

Table 2: Summary of the analytical concordance between CTA FISH (CTA) and comparator method

|  |  | Comparator method |  |
| --- | --- | --- | --- |
| CTA | Positive | Negative | Total |
| Positive | Enter data | Enter data | Enter data |
| Negative | Enter data | Enter data | Enter data |
| Total | Enter data | Enter data | Enter data |
| Agreement: | PPA: Enter data NPA: Enter data |  |  |

To return to “Analytical accuracy – concordance” click here

Table 3: Summary of precision study

| Precision study parameter | Range around the cut-off | Number positives / number expected | Number negatives / number expected | % Agreement |
| --- | --- | --- | --- | --- |
| Within-day | Enter data | Enter data | Enter data | PPA: Enter data NPA: Enter data |
| Between-day | Enter data | Enter data | Enter data | PPA: Enter data NPA: Enter data |
| Between-reader (visual) | Enter data | Enter data | Enter data | PPA: Enter data NPA: Enter data |
| Between-instrument (stainer) | Enter data | Enter data | Enter data | PPA: Enter data NPA: Enter data |

To return to “Precision” click here