## Sheet1
Date of Final Decision | Submission Number | Device | Company | Panel (Lead) | Primary Product Code
12/22/2025 | K252981 | EmbraceMini | Empatica S.R.L. | Neurology | LEL
12/17/2025 | K253710 | Dexcom G7 Continuous Glucose Monitoring (CGM) System, Dexcom G7 15 Day Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QBJ
12/11/2025 | K253141 | DeepRhythmAI | Medicalgorithmics S.A. | Cardiovascular | DQK
12/10/2025 | K252497 | SANSA HSAT | Huxley Medical | Anesthesiology | MNR
12/05/2025 | K243438 | MEMO Patch M (MPT-E08R-UNC01) | HUINNO Co., Ltd. | Cardiovascular | DXH
12/03/2025 | K253293 | VitaloJAK Clinic (Model 7100) | Vitalograph , Ltd. | Cardiovascular | DSH
11/21/2025 | K251506 | Nelli (Version 7.11) | Neuro Event Labs OY | Neurology | POS
11/18/2025 | K243981 | Hexoskin Medical System (7100-00016) | Carre Technologies, Inc. | Cardiovascular | DXH
11/17/2025 | K252330 | DeepRESP | Nox Medical Ehf | Neurology | OLZ
10/29/2025 | K250882 | SANSA HSAT | Huxley Medical | Anesthesiology | MNR
10/02/2025 | K252440 | EasyTeleMed (2.0.2) | Ingeniars S.R.L. | Cardiovascular | DRG
09/23/2025 | DEN240080 | Biolinq Shine Autonomous Time-in-Range Microsensor | Biolinq Incorporated | Clinical Chemistry | SFU
09/11/2025 | K250507 | Hypertension Notification Feature (HTNF) | Apple Inc. | Cardiovascular | SFR
09/05/2025 | K250460 | WatchPAT400 (WP400) | Itamar Medical Ltd. | Anesthesiology | MNR
08/29/2025 | K250874 | Sunrise | Sunrise SA | Ear Nose & Throat | QRS
08/28/2025 | K252383 | Somfit D | Compumedics Limited | Anesthesiology | MNR
08/15/2025 | K243650 | Zio® monitor (DFG0001) | iRhythm Technologies, Inc. | Cardiovascular | DSH
08/06/2025 | P250012 | Guardian 4 Sensor | Medtronic Minimed, Inc. | Clinical Chemistry | SFI
07/31/2025 | K251574 | Sleep Watch | Ambulatory Monitoring, Inc. | Neurology | LEL
07/22/2025 | K243566 | CardioTag | Cardiosense, Inc. | Cardiovascular | DXR
07/12/2025 | K243199 | NightWatch+ US | LivAssured BV | Neurology | POS
07/11/2025 | K241179 | Rhythm Express Remote Cardiac Monitoring System (RX-1 mini) | VivaQuant, Inc. | Cardiovascular | QYX
07/03/2025 | K243220 | Onera STS 2 (ONERA STS 2) | Onera B.V. | Anesthesiology | MNR
07/02/2025 | K250415 | G0 Blood Pressure Monitoring System (G0) | Aktiia SA | Cardiovascular | DXN
06/19/2025 | K250515 | EpiMonitor | Empatica Srl | Neurology | POS
06/18/2025 | K242224 | Happy Health Home Sleep Test | Happy Health Inc. | Anesthesiology | MNR
06/17/2025 | K243003 | VitalSigns 1-Lead Holter (VSH101) | VitalSigns Technology Co., Ltd. | Cardiovascular | DXH
06/15/2025 | K240795 | Withings ECG App | Withings | Cardiovascular | QDA
06/06/2025 | K242737 | Empatica Health Monitoring Platform; EmbracePlus; Empatica Care; Care Portal | Empatica S.r.l. | Cardiovascular | MWI
05/05/2025 | K243603 | AeviceMD | Aevice Health Pte. Ltd. | Cardiovascular | DSH
04/25/2025 | K250153 | Neu Platform | Neuhealth Digital Ltd. | Neurology | GYD
04/17/2025 | K242129 | VitalRhythm | Vitalconnect, Inc. | Cardiovascular | DQK
04/09/2025 | K243214 | Dexcom G7 15 Day Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
04/04/2025 | K243236 | WHOOP ECG (electrocardiogram) Feature (1.0) | Whoop, Inc. | Cardiovascular | QDA
04/03/2025 | K243305 | Masimo W1 | Masimo Corporation | Cardiovascular | DPS
03/21/2025 | K243185 | REMI Remote EEG Monitoring System | Epitel | Neurology | OMC
03/21/2025 | K250106 | Signos Glucose Monitoring System | Signos, Inc. | Clinical Chemistry | SAF
03/19/2025 | K243092 | AcuPebble Ox (200) | Acurable Limited | Anesthesiology | MNR
03/14/2025 | K241960 | DeepRESP | Nox Medical ehf | Neurology | OLZ
03/07/2025 | K243515 | EpiWatch Monitoring System | EpiWatch, Inc. | Neurology | POS
02/28/2025 | K242876 | Pulse Oximeter ( PO2, PO2A, PO2B) | Shenzhen Viatom Technology Co., Ltd. | Cardiovascular | DQA
02/25/2025 | K233963 | Aulisa Oximeter Module (2nd Gen.) (GA-OM0007, GA-OM0008) | Taiwan Aulisa Medical Devices Technologies, Inc. | Cardiovascular | DQA
02/25/2025 | K242967 | Loss of Pulse Detection | Fitbit | Cardiovascular | SDY
02/20/2025 | K242447 | Falcon HST | Compumedics Limited | Neurology | OLV
02/13/2025 | K243778 | Body Temperature Software (BTS) | Fitbit, LLC | General Hospital | QZA
02/03/2025 | K243268 | TipTraQ (TTQ001) | PranaQ Pte. Ltd. | Anesthesiology | MNR
01/30/2025 | K233956 | Aulisa Infant Oximeter Module (2nd Gen.) (GA-OM0018) | Taiwan Aulisa Medical Devices Technologies, Inc. | Cardiovascular | DQA
01/28/2025 | K244027 | SANSA HSAT | Huxley Medical | Anesthesiology | MNR
01/14/2025 | K241066 | BB-613-BPM | BioBeat Technologies Ltd. | Cardiovascular | DXN
01/08/2025 | K242290 | DormoTech NLab | DormoTech Medical LTD | Anesthesiology | MNR
01/08/2025 | K242842 | ANNE View, Central Hub | Sibel Health, Inc. | Cardiovascular | MSX
12/09/2024 | K242508 | Verily Numetric Retinal Camera | Verily Life Sciences, LLC | Ophthalmic | HKI
12/08/2024 | K240700 | HomeSleepTest (HST, HST REM+) | Somnomedics GMBH | Neurology | OLV
11/29/2024 | K241090 | Evie Med Ring | Movano Inc. dba Movano Health | Cardiovascular | DQA
11/22/2024 | K242094 | Dreem 3S | Beacon Biosignals, Inc. | Neurology | OLZ
11/12/2024 | K242018 | UbiqVue 2A Multi-parameter System (UX2550) | LifeSignals, Inc. | Cardiovascular | DRG
10/31/2024 | K240653 | SmartCardia 7L Platform (MCT) | SmartCardia SA | Cardiovascular | QYX
10/30/2024 | K240177 | Zio AT® device (A100A1001) | iRhythm Technologies, Inc. | Cardiovascular | DSI
10/21/2024 | K240029 | Zio AT® device (A100A1001) | iRhythm Technologies, Inc. | Cardiovascular | QYX
10/17/2024 | K240408 | REMI-AI Rapid Detection Module (REMI-AI RDM) | Epitel, Inc | Neurology | OMB
09/26/2024 | K241101 | BioButton System | BioIntelliSense Inc. | Cardiovascular | DRG
09/24/2024 | K240236 | Happy Ring Health Monitoring System | Happy Health Inc. | Cardiovascular | MWI
09/16/2024 | K241335 | Eversense 365 Continuous Glucose Monitoring (CGM) System | Senseonics, Incorporated | Clinical Chemistry | SBA
09/13/2024 | K240929 | Sleep Apnea Notification Feature (SANF) | Apple Inc. | Anesthesiology | QZW
09/12/2024 | DEN230081 | Hearing Aid Feature (HAF) | Apple Inc. | Ear Nose & Throat | SCR
09/06/2024 | K231667 | Withings Sleep Rx | Withings | Anesthesiology | MNR
09/04/2024 | K240646 | DreamClear | SomnoMed Technologies Inc., doing business as REMware | Neurology | GWL
08/28/2024 | K233827 | OxiWear | OxiWear, Inc. | Cardiovascular | DQA
08/02/2024 | K240909 | Samsung ECG App v 1.3 (ECG) | Samsung Electronics Co., Ltd | Cardiovascular | QDA
07/24/2024 | P160007/S047 | Simplera System | MEDTRONIC MINIMED | Clinical Chemistry | PQF
07/15/2024 | K240285 | Huxley SANSA Home Sleep Apnea Test (1000-00) | Huxley Medical | Anesthesiology | MNR
06/17/2024 | K233987 | VERABAND | Arbor Medical Innovations, LLC | Neurology | LEL
06/07/2024 | K232804 | FibriCheck | Qompium nv | Cardiovascular | QME
06/07/2024 | K233861 | Libre Rio Continuous Glucose Monitoring System | Abbott Diabetes Care | Clinical Chemistry | SBH
06/03/2024 | K240251 | ANNE Chest | Sibel Health, Inc. | Cardiovascular | DRG
05/29/2024 | K233655 | Lingo Glucose System | Abbott | Clinical Chemistry | SAF
05/28/2024 | K240305 | ANNE Limb | Sibel Health, Inc. | Cardiovascular | DQA
05/09/2024 | K233418 | Biofourmis Everion+ (G2) | Biofourmis Singapore Pte. Ltd. | Cardiovascular | MSX
05/02/2024 | K232445 | CSF-4 (CSF-4) | CardiacSense | Cardiovascular | DPS
04/30/2024 | K233403 | Flexset System | Zeto, Inc. | Neurology | GWQ
04/29/2024 | DEN230052 | Eversense AP CGM System | Senseonics, Incorporated | Clinical Chemistry | SBA
04/23/2024 | K233537 | FreeStyle Libre 3 Continuous Glucose Monitoring System; FreeStyle Libre 2 Flash Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QBJ
04/23/2024 | K240902 | Dexcom G7 Continuous Glucose Monitoring System | Dexcom Inc. | Clinical Chemistry | QBJ
03/22/2024 | K232548 | Corsano CardioWatch 287-2 System | Corsano Health B.V. | Cardiovascular | MSX
03/05/2024 | K234070 | Stelo Glucose Biosensor System | Dexcom, Inc. | Clinical Chemistry | SAF
03/04/2024 | K231288 | Vyvo | Vyvo Technology Corp.(VT) | Cardiovascular | DQA
02/26/2024 | K234133 | Dexcom G7 Continuous Glucose Monitoring System | Dexcom Inc. | Clinical Chemistry | QBJ
02/15/2024 | K232915 | EpiMonitor | Empatica Srl | Neurology | POS
02/06/2024 | DEN230041 | Sleep Apnea Feature | Samsung Electronics Co., Ltd | Anesthesiology | QZW
02/04/2024 | K232210 | X-trodes System M | X-Trodes | Neurology | GWL
12/21/2023 | K231531 | Pediarity | Gabi SmartCare SA | Cardiovascular | DQA
12/15/2023 | DEN230050 | Body Temperature Software (BTS) | Fitbit, LLC | General Hospital | QZA
12/15/2023 | K223721 | Masimo Stork | Masimo Corporation | Cardiovascular | DQA
12/08/2023 | K232053 | SimpleSense-BP, SimpleSense-BP Software Application | Nanowear Inc. | Cardiovascular | DXN
11/30/2023 | K231546 | Somfit | Compumedics Limited | Anesthesiology | MNR
11/17/2023 | K232512 | Masimo W1 | Masimo Corporation | Cardiovascular | DPS
11/08/2023 | DEN220091 | Dream Sock | Owlet Baby Care, Inc. | Cardiovascular | QYU
10/30/2023 | K230457 | Empatica Health Monitoring Platform; EmbracePlus; Empatica Care; Care Portal | Empatica S.r.l. | Cardiovascular | MWI
08/30/2023 | K231276 | SmartCardia 7L Platform | SmartCardia SA | Cardiovascular | DSI
08/29/2023 | K221361 | circul pro Ring | BodiMetrics, LLC | Cardiovascular | DQA
08/24/2023 | K231506 | Current Health System | Current Health Ltd | Cardiovascular | MSX
08/23/2023 | K230812 | Withings Scan Monitor 2.0 | Withings | Cardiovascular | DPS
08/18/2023 | K223539 | Dreem 3S | Beacon Biosignals, Inc. | Neurology | OLZ
08/10/2023 | K223711 | ANNE One | Sibel Health, Inc. | Cardiovascular | DRG
08/08/2023 | K232052 | Ceribell Instant EEG Headband | Ceribell, Inc. | Neurology | GXY
07/21/2023 | K231173 | Irregular Rhythm Notification Feature (IRNF) | Apple Inc. | Cardiovascular | QDB
07/07/2023 | K223382 | AeviceMD | Aevice Health Pte. Ltd. | Cardiovascular | DSH
06/23/2023 | K231532 | ActiGraph LEAP activity monitor (ActiGraph LEAP) | ActiGraph, LLC | Neurology | LEL
06/16/2023 | K222597 | BabySat 3 | Owlet Baby Care, Inc. | Cardiovascular | DQA
06/01/2023 | K223676 | SomniCheck | BrainMatterZ, LLC | Neurology | GWL
05/15/2023 | K231081 | Dexcom G7 Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QBJ
05/02/2023 | K230292 | Samsung ECG Monitor Application with Irregular Heart Rhythm Notification | Samsung Electronics Co., Ltd | Cardiovascular | QDA
04/13/2023 | K223435 | FreeStyle Libre 3 Continuous Glucose Monitoring System; FreeStyle Libre 2 Flash Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QBJ
03/17/2023 | K223073 | Alio | Alio, Inc. | Cardiovascular | DRG
03/17/2023 | K221772 | NeuroRPM | New Touch Digital Inc. | Neurology | GYD
03/09/2023 | K221816 | Wesper Lab | Wesper Inc. | Anesthesiology | MNR
03/06/2023 | K212161 | Radical-7 Pulse CO-Oximeter and Accessories, Rad-97 and Accessories | Masimo Corporation | Cardiovascular | MWI
03/03/2023 | K222447 | FreeStyle Libre 2 Flash Glucose Monitoring System; Freestyle Libre 3 Continuous Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QBJ
03/01/2023 | K222280 | Bigfoot Unity® Diabetes Management System | Bigfoot Biomedical, Inc. | Clinical Chemistry | QLG
02/23/2023 | K222579 | Belun Sleep System BLS-100 | Belun Technology Company Limited | Anesthesiology | MNR
02/23/2023 | K213863 | Everion+ System | Biofourmis Singapore Pte. Ltd | Cardiovascular | MSX
02/21/2023 | K223537 | FreeStyle Libre 2 System, FreeStyle Libre 3 System | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
02/15/2023 | K222389 | ZEUS System | iRhythm Technologies, Inc. | Cardiovascular | DQK
01/12/2023 | K221774 | Garmin ECG App | Garmin International, Inc. | Cardiovascular | QDA
01/11/2023 | K223931 | Dexcom G6 Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QBJ
01/06/2023 | K223675 | WatchPAT ONE (WP1) | Itamar Medical, LTD | Anesthesiology | MNR
12/21/2022 | K220012 | BresoDX1 | Bresotec Inc | Anesthesiology | MNR
12/12/2022 | K212957 | BioButton System | BiolntelliSense Inc. | Cardiovascular | DRG
12/07/2022 | K213919 | Dexcom G7 Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
11/20/2022 | K221282 | Empatica Health Monitoring Platform | Empatica S.r.l. | Cardiovascular | DQA
11/18/2022 | K220351 | Polso Watch | Chronisense Medical, Ltd. | Cardiovascular | DQA
11/17/2022 | K220820 | Parky App | H2O Bilisim Yazilim | Neurology | GYD
10/20/2022 | K222842 | V-Patch Cardiac Monitor | Shandong Corecare Technology Limited | Cardiovascular | DXH
09/14/2022 | K222331 | WatchPAT300 (WP300) | Itamar Medical, Ltd | Anesthesiology | MNR
07/29/2022 | K221259 | Dexcom G6 Continuous Glucose Monitoring (CGM) System, Dexcom G6 Glucose Program Continuous Glucose Monitoring (CGM) System, Dexcom G6 Professional Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QBJ
07/19/2022 | K213409 | ZEUS System (Zio Watch) | iRhythm Technologies, Inc. | Cardiovascular | DQK
07/19/2022 | K213357 | Study Watch with Irregular Pulse Monitor (Home), Study Watch with Irregular Pulse Monitor | Verily Life Sciences LLC | Cardiovascular | DXH
07/15/2022 | K220631 | NomadAir PMU810 | Neurotronics, Inc. | Neurology | GWL
07/11/2022 | K220095 | ANNE Sleep | Sibel, Inc. | Anesthesiology | MNR
07/06/2022 | K213007 | Cerebra Sleep System | Cerebra Medical Ltd. | Neurology | OLV
06/30/2022 | K220651 | Wrist Type Blood Pressure Monitor | Shenzhen Jamr Medical Technology Co., Ltd | Cardiovascular | DXN
06/10/2022 | K213519 | Rune Labs Tremor Transducer System | Rune Labs, Inc. | Neurology | GYD
06/10/2022 | K213515 | WesperO2 | Wesper Inc. | Cardiovascular | DQA
06/03/2022 | K213971 | Atrial Fibrillation History Feature | Apple Inc. | Cardiovascular | QDB
05/26/2022 | K213996 | FreeStyle Libre 3 Continuous Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
05/26/2022 | K212132 | FreeStyle Libre 3 Continuous Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
05/25/2022 | K220350 | KardiaMobile 6L | AliveCor, Inc. | Cardiovascular | DXH
04/08/2022 | K212372 | Fitbit Irregular Rhythm Notifications | Fitbit Inc | Cardiovascular | QDB
03/24/2022 | K211365 | Alio Medical Remote Monitoring System | Graftworx, Inc. dba Alio | Cardiovascular | DRG
03/11/2022 | K211887 | Personal Kinetigraph (PKG) System Gen 2 Plus | GKC Manufacturing Pty Ltd | Neurology | GYD
02/24/2022 | K220028 | NightOwl | Ectosense nv | Anesthesiology | MNR
01/07/2022 | DEN210015 | Sunrise Sleep Disorder Diagnostic Aid | Sunrise | Ear Nose & Throat | QRS
12/21/2021 | K203343 | Wesper Lab | Wesper Inc. | Anesthesiology | MNR
12/16/2021 | K213463 | NightOwl | Ectosense NV | Anesthesiology | MNR
11/30/2021 | K211668 | KardiaMobile Card | AliveCor, Inc. | Cardiovascular | DXH
11/22/2021 | K210943 | FreeStyle Libre 2 Flash Glucose Monitoring System (with FreeStyle Libre 2 App) | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
10/22/2021 | K212516 | IRNF App | Apple Inc. | Cardiovascular | QDB
10/21/2021 | K211407 | Belun Ring BLR-100X | Belun Technology Company Limited | Cardiovascular | DQA
10/05/2021 | K201456 | Scan Monitor | Withings SA | Cardiovascular | DPS
09/22/2021 | K212160 | SimpleSENSE Platform | Nanowear Inc. | Cardiovascular | DXH
09/03/2021 | K210133 | Current Health Monitoring System Gen 2 (G2) | Current Health | Cardiovascular | MSX
08/30/2021 | K210805 | Ceribell Instant EEG Headband | Ceribell, Inc. | Neurology | GXY
08/17/2021 | K203089 | Dexcom G6 Glucose Program Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QDK
08/11/2021 | K211102 | FreeStyle Libre 2 Flash Glucose Monitoring System | Abbott Diabetes Care, Inc. | Clinical Chemistry | QLG
07/30/2021 | K201761 | FreeStyle Libre 2 Flash Glucose Monitoring System (with FreeStyle Libre 2 App) | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
07/15/2021 | K201328 | Dexcom G6 Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QBJ
07/06/2021 | K210480 | AcuPebble SA | Acurable Limited | Anesthesiology | MNR
06/30/2021 | K210753 | KardiaMobile 6L | AliveCor, Inc. | Cardiovascular | DXH
06/16/2021 | K210034 | EnsoSleep | EnsoData, Inc. | Neurology | OLZ
06/07/2021 | K201914 | HRVWatch-Mini Wrist Monitor | Taiwan Scientific Corporation | Cardiovascular | DXN
05/21/2021 | K202359 | Zio Monitor | iRhythm Technologies, Inc. | Cardiovascular | DSH
05/21/2021 | K202527 | Zio ECG Utilization Software (ZEUS) System | iRhythm Technologies, Inc. | Cardiovascular | DQK
05/07/2021 | K202145 | Bigfoot Unity Diabetes Management System | Bigfoot Biomedical, Inc. | Clinical Chemistry | QLG
04/01/2021 | K202228 | Omron Model BP7900 Blood Pressure Monitor + EKG | Omron Healthcare, Inc. | Cardiovascular | DXN
02/06/2021 | K200276 | SPEAC System | Brain Sentinel, Inc. | Neurology | POS
01/27/2021 | K193386 | Wrist Electronic Sphygmomanometer | Shenzhen Changkun Technology Co., Ltd. | Cardiovascular | DXN
01/25/2021 | K201468 | Pulse Oximeter | Shenzhen Creative Industry Co., Ltd. | Cardiovascular | DQA
12/04/2020 | K200876 | Dexcom G6 Continuous Glucose Monitoring System, Dexcom G6 Glucose Program Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
12/03/2020 | K201977 | TempTraq | Blue Spark Technologies, Inc. | General Hospital | FLL
11/06/2020 | K201669 | SimpleSENSE | Nanowear Inc. | Cardiovascular | DXH
10/30/2020 | K193296 | eCordum Cardiac Monitor (eCordum CM) | Ecordum, Inc. | Cardiovascular | DXH
10/08/2020 | K201525 | ECG App | Apple Inc. | Cardiovascular | QDA
09/25/2020 | K201439 | Ventilator, Non-continuous (Respirator) | Respironics, Inc. | Anesthesiology | BZD
09/11/2020 | K200948 | Fitbit ECG App | Fitbit, Inc. | Cardiovascular | QDA
08/04/2020 | K201168 | ECG Monitor App | Samsung Electronics Co., Ltd | Cardiovascular | QDA
07/12/2020 | K193628 | AGE Automatic Wrist Blood Pressure Monitor | Dongguan E-Test Technology Co., Ltd | Cardiovascular | DXN
06/12/2020 | K193371 | FreeStyle Libre 2 Flash Glucose Monitoring System | Abbott Diabetes Care Inc. | Clinical Chemistry | QLG
06/01/2020 | K191620 | Vitls Platform | Vitls Inc. | Cardiovascular | DRG
04/20/2020 | K193343 | Vista Solution Monitoring Kit, Vista Solution 2 10-day Evaluation Kit, VistaTablet 2 (Boxed) | VitalConnect, Inc. | Cardiovascular | DRG
03/06/2020 | K191031 | NightOwl | Ectosense nv | Anesthesiology | MNR
02/06/2020 | K192757 | VitalPatch 5D Biosensor - single, VitalPatch 7D Biosensor - single, VitalPatch 5D Biosensor  bag of 20, VitalPatch 7D Biosensor  bag of 20 | VitalConnect, Inc. | Cardiovascular | DRG
01/29/2020 | K193642 | Dexcom G6 Glucose Program Continuous Glucose Monitoring (CGM) System | Dexcom, Inc. | Clinical Chemistry | QDK
01/24/2020 | K191406 | KardiaMobile, KardiaStation | AliveCor, Inc. | Cardiovascular | DXH
01/17/2020 | K192415 | Study Watch with Irregular Pulse Monitor | Verily Life Sciences LLC | Cardiovascular | DXH
12/18/2019 | K191614 | BioSticker System | BioIntelliSense Inc. | Cardiovascular | DRG
12/02/2019 | K191088 | Checkme O2 Pulse Oximeter | Shenzhen Viatom Technology Co., Ltd. | Cardiovascular | DQA
11/13/2019 | K192469 | Nox Sleep System | Nox Medical | Neurology | OLZ
10/25/2019 | K192787 | Dexcom G6 Glucose Program Continuous Glucose Monitoring (GCM) System | Dexcom, Inc. | Clinical Chemistry | QDK
10/18/2019 | K183625 | SomnaPatch | Respironics, Inc. | Anesthesiology | MNR
10/07/2019 | K191833 | Dexcom G6 Pro Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QII
08/28/2019 | K182401 | B.O.L.T Base Unit, B.O.L.T Non-Invasive Blood Pressure (NIBP) Cuff, B.O.L.T Infared Radiation Energy Technology(IRT) Thermometer probe, B.O.L.T Pulse Oximeter(SPO2) probe, B.O.L.T Gluchobin Blood Glucose, Total Cholesterol and Hemoglobin meter | AmZetta Technologies Private Limited | Cardiovascular | MWI
08/23/2019 | K190593 | Zio XT ECG Monitoring System, Zio AT ECG Monitoring System | iRhythm Technologies, Inc. | Cardiovascular | DQK
08/22/2019 | K190792 | BB-613WP | BioBeat Technologies Ltd. | Cardiovascular | DQA
08/15/2019 | K183282 | Biovitals Analytics Engine | Biofourmis Singapore Pte. Ltd | Cardiovascular | PLB
07/12/2019 | K191272 | Wearable Device, Wearable Package | Current Health Ltd. | Cardiovascular | MSX
06/28/2019 | K191450 | Dexcom G6 Continuous Glucose Monitoring System, Dexcom G6 Glucose Program Continuous Glucose Monitoring System and Dexcom Pro Q Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
06/25/2019 | K191207 | Guardian Angel Rx GA2001 Digital Vital Sign Monitoring System | Taiwan Aulisa Medical Devices Technologies, Inc. | Cardiovascular | DQA
06/13/2019 | K190133 | Full Automatic (NIBP) Blood Pressure Monitor-HL158UB | Health & Life Co., Ltd. | Cardiovascular | DXN
06/07/2019 | K190916 | VitalPatch 7D Biosensor - single, VitalPatch 7D Biosensor - bag of 20 | VitalConnect, Inc. | Cardiovascular | DRG
05/20/2019 | K190134 | Full Automatic (NIBP) Blood Pressure Monitor-HL158TB | Health & Life Co., Ltd. | Cardiovascular | DXN
05/11/2019 | K182180 | SPEAC System | Brain Sentinel, Inc. | Neurology | POS
05/10/2019 | K183319 | Triangle System | AliveCor, Inc. | Cardiovascular | DXH
03/27/2019 | K190073 | Wearable Device, Home Package in Carry Case with Homehub, Home Package in Carry Case without Homehub | Current Health Ltd | Cardiovascular | MSX
03/07/2019 | K182344 | RhythmAnalytics | Biofourmis Singapore Pte. Ltd. | Cardiovascular | DQK
03/07/2019 | K183078 | VitalConnect Platform, VitalPatch Biosensor | VitalConnect, Inc. | Cardiovascular | DRG
03/01/2019 | K182822 | Guardian Angel Rx GA 1001 Digital Vital Sign Monitoring System | Taiwan Aulisa Medical Devices Technologies, Inc. | Cardiovascular | DQA
03/01/2019 | K183067 | Guardian Angel Rx GA2000 Digital Vital Sign Monitoring System | Taiwan Aulisa Medical Devices Technologies, Inc. | Cardiovascular | DQA
02/14/2019 | K183206 | Dexcom G6 Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
01/17/2019 | K182456 | Study Watch | Verily Life Sciences LLC | Cardiovascular | DXH
12/20/2018 | K181861 | Embrace | Empatica Srl | Neurology | POS
11/21/2018 | K181996 | MATRx Plus | Zephyr Sleep Technologies | Anesthesiology | MNR
11/16/2018 | K181709 | Serenity Piezo Sensor, Serenity Thermocouple Sensor | Neurotronics, Inc. | Neurology | OLV
11/08/2018 | K182030 | Faros Mobile | Bittium Biosignals Ltd. | Cardiovascular | MLO
10/26/2018 | K182041 | Dexcom G6 Glucose Program Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QDK
09/11/2018 | DEN180044 | ECG App | Apple Inc | Cardiovascular | QDA
09/11/2018 | DEN180042 | Irregular Rhythm Notification Feature | Apple Inc | Cardiovascular | QDB
08/29/2018 | K181502 | Zio AT ECG Monitoring System, ZEUS System | iRhythm Technologies, Inc. | Cardiovascular | DQK
08/11/2018 | K173248 | CARDIOSKIN | Bioserenity SAS | Cardiovascular | DXH
06/21/2018 | P160048 | EVERSENSE CONTINUOUS GLUCOSE MONITORING SYSTEM | Senseonics, Incorporated | Clinical Chemistry | QCD
05/24/2018 | K181077 | ActiGraph CentrePoint Insight Watch | ActiGraph | Neurology | LEL
05/08/2018 | K173510 | BioStamp nPoint | MC10 Inc. | Cardiovascular | DRG
03/27/2018 | DEN170088 | Dexcom G6 Continuous Glucose Monitoring System | Dexcom, Inc. | Clinical Chemistry | QBJ
03/09/2018 | K162616 | Wrist Type Blood Pressure Monitor | Xuzhou Yongkang Electronic Science Technology Co., Ltd | Cardiovascular | DXN
01/26/2018 | K162665 | MiCor A100 Wearable ECG Recorder | MITAC INTERNATIONAL CORP. | Cardiovascular | DPS
01/26/2018 | K172935 | Embrace | Empatica Srl | Neurology | POS
01/10/2018 | K171833 | Digital Blood Pressure Monitor-Wrist Style | Shenzhen Combei Technology CO., LTD | Cardiovascular | DXN
11/13/2017 | K172703 | Disposable Snap Electrode | Embla Systems | Neurology | GXY
11/02/2017 | K163453 | VitalPatch® VitalConnect Platform | VITAL CONNECT, INC. | Cardiovascular | DRG
08/23/2017 | K171244 | Physiotrace | NimbleHeart, Inc. | Cardiovascular | DRX
06/02/2017 | K163512 | Zio AT ECG Monitoring System | IRHYTHM TECHNOLOGIES, INC. | Cardiovascular | QYX
06/02/2017 | K170973 | VitalWatch Software User Interface | VitalConnect, Inc. | Cardiovascular | DRG
04/24/2017 | K160499 | Apnea Risk Evaluation System (ARES), Model 620 | Watermark Medical | Anesthesiology | MNR
02/24/2017 | K161579 | Watch-PAT200U | ITAMAR MEDICAL, LTD. | Anesthesiology | MNR
02/16/2017 | DEN140033 | Companion | LGCH, INC | Neurology | POS
11/30/2016 | K161431 | SimplECG | Nanowear Inc. | Cardiovascular | DXH
09/20/2016 | K161717 | Personal Kinetigraph (PKG) System | GKC MANUFACTURING PTY LTD. | Neurology | GYD
08/01/2016 | DEN140040 | Nautilus BrainPulse 1000 | JAN MEDICAL, INC. | Neurology | POP
07/26/2016 | K153070 | Watch-PAT200U | ITAMAR MEDICAL, LTD. | Anesthesiology | MNR
03/29/2016 | K160336 | Full Automatic (NIBP) Blood Pressure Monitor | Health & Life Co., Ltd. | Cardiovascular | DXN
03/04/2016 | DEN140017 | SENSIMED TRIGGERFISH | SENSIMED AG | Ophthalmic | PLZ
01/07/2016 | K153214 | Full Automatic (NIBP) Blood Pressure Monitor | HEALTH & LIFE CO., LTD. | Cardiovascular | DXN
12/06/2015 | K152139 | Vital Connect Platform, HealthPatch MD, VitalPatch | VITAL CONNECT, INC. | Cardiovascular | DRG
09/29/2015 | K151576 | Neon EEG | Incereb Ltd | Neurology | GXY
09/02/2015 | K143267 | TempTraq TT-100 | Blue Spark Technologies, Inc. | General Hospital | FLL
06/30/2015 | K151281 | AGE Automatic Wrist Blood Pressure Monitor | DONGGUAN AGELESS HEALTH INDUSTRIAL CO., LTD | Cardiovascular | DXN
06/19/2015 | K143513 | ZIO SR ECG Monitoring Service | iRhythm Technologies, Inc. | Cardiovascular | DSH
06/03/2015 | K142159 | DISPOSABLE PRE-GELLED SURFACE ELECTRODE | ROCHESTER ELECTRO MEDICAL, INC. | Neurology | GXY
04/16/2015 | K143506 | BIS STANDARD SENSOR,1-CHANNEL (3 ELECTRODES); BIS PEDI SENSOR,1-CHANNEL,3 ELECTRODES; BIS QUATRO SENSOR; BIS PEDI-XP SENSOR,2-CHANNEL (4 ELECTRODES); BIS EXTEND SENSOR; BIS BILATERAL SENSOR,4-CHANNEL (6 ELECRODES); BIS INSIGHT SENSOR,CVI-ENABLED,2-CHANNEL (4 ELECTRODES) | COVIDIEN | Neurology | GXY
04/03/2015 | K141683 | ELECTRONIC BLOOD PRESSURE MONITOR | SHENZHEN URION TECHNOLOGY CO., LTD. | Cardiovascular | DXN
01/30/2015 | K140861 | SOMNOTOUCH RESP | SOMNOMEDICS GMBH | Anesthesiology | MNR