## Discontinued Sets
SKU Number | UDI-DI | Brand
10013072 | Primary 7613203021210 Package 37613203021228 | BD Alaris Pump Infusion Set, PE Lined Tubing, Back Check Valve, 2 SmartSite Y-sites
10013361 | Primary 10885403221965 Package 50885403221963 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, Back Check Valve, 2 SmartSite Y-sites
10013890 | Primary 10885403232268 Package 50885403232266 | BD Alaris Pump Infusion Set, PE Lined Tubing
10015645 | Primary 10885403227967 Package 50885403227965 | BD Alaris Pump Infusion Set 2 SmartSite Y-Sites 295 cm (116 in)
10062818 | Primary 7613203019668 Package 37613203019676 | BD Alaris Pump Infusion Blood Set, 180 Micron Filter, 2 Blunt Spikes
10821753 | Primary 7613203019187 Package 37613203019195 | BD Alaris Pump Infusion Burette Set, SmartSite Port (Burette), 3 SmartSite Y-sites
11404930 | Primary 7613203021197 Package 37613203021204 | BD Alaris Pump Infusion Set, Back Check Valve, 3 SmartSite Y-sites
10013361T | Primary 10885403223204 Package 50885403223202 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, Bonded Texium Closed Male, Luer with Priming Cap, Back Check Valve, 2 SmartSite Y-sites
10321213T | Primary 10885403228971 Package 50885403228979 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, Bonded Texium Closed Male Luer with priming cap
2120-0500 | Primary 7613203012690 Package 37613203012707 | BD Alaris Pump Infusion Set, Back Check Valve, 2 VersaSafe Split Septum Y-sites
2200-0500 | Primary 7613203012638 Package 37613203012646 | GEM V/NV PRIMARY 20DP
22000-B007T | Primary 10885403245022 Package 50885403245020 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap
2203-0500 | Primary 7613203019200 Package 37613203019218 | BD Alaris Pump Infusion Set, 15 Micron Filter, Amber Tubing
2210-0500 | Primary 7613203012614 Package 37613203012622 | GEM V/NV PRI W/2 INJ SITES 20
22600-0007T | Primary 10885403239595 Package 50885403239593 | BD Alaris Pump Infusion Set, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap
2408-0500 | Primary 10885403235030 Package 50885403235038 | GEM 10DP CKV 4WAY-STPCK 4SS
2420-0500 | Primary 7613203012430 Package 37613203012448 | BD Alaris Pump Infusion Set, Back Check Valve, 2 SmartSite Y-sites
2428-0007 | Primary 10885403220883 Package 50885403220881 | BD Alaris Pump Infusion Set, 2 Back Check Valves, 4 SmartSite Y-sites
2455-0500 | Primary 7613203021296 Package 37613203021303 | BD Alaris Pump Infusion Set, SmartSite Y-site
2466-0007 | Primary 10885403221958 Package 50885403221956 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing
2206-0007 | Primary 7613203019224 Package 37613203019232 | BD Alaris Pump Infusion Set, Yellow-Striped Microbore Tubing

## Performance Issues
SKU Number | UDI-DI | Brand
10561554 | Primary 10885403232565 Package 50885403232563 | BD Alaris Pump Infusion Set, 15 Micron Filter, Back Check Valve, 3 SmartSite Y-sites
10015861A | Primary 10885403232626 Package 50885403232624 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing, Back Check Valve, 3 SmartSite Y-sites
11171447 | Primary 7613203021234 Package 37613203021242 | BD Alaris Pump Infusion Set, 2 Back Check Valves, 3 SmartSite Y-sites
11426965 | Primary 10885403232558 Package 50885403232556 | BD Alaris Pump Infusion Set, Back Check Valve, 5 SmartSite Y-sites
2260-0500 | Primary 7613203012591 Package 37613203012608 | BD Alaris Pump Infusion Set, PE Lined Tubing
24600-0007 | Primary 10885403241970 Package 50885403241978 | BD Alaris Pump Infusion Set, PE Lined Tubing, Back Check Valve, 3 SmartSite Y-sites
2278-0500 | Primary 10885403223266 Package 50885403223264 | BD Alaris Pump Infusion Blood Set, 200 Micron Filter
2477-0007 | Primary 7613203019460 Package 37613203019478 | BD Alaris Pump Infusion Blood Set, 180 Micron Filter, SmartSite Y-site
22603-B007T | Primary 10885403240942 Package 50885403240940 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap
24010-0007T | Primary 10885403271021 Package 50885403271029 | BD Alaris Pump Infusion Set, Bonded Texium, Closed Male Luer with Priming Cap, Back Check Valve, 3 SmartSite Y-sites
24301-0007T | Primary 10885403223198 Package 50885403223196 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, 0.2 Micron Filter, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap, SmartSite Y-site
24601-B007T | Primary 10885403240959 Package 50885403240957 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap, Back Check Valve, 2 SmartSite Y- sites
22602-B007T | Primary 10885403240935 Package 50885403240933 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing, Bonded Texium Closed Male Luer with Priming Cap
11426964 | Primary 10885403232367 Package 50885403232365 | BD Alaris LVP 20D LOW SORB
2204-0007* | Primary 10885403199363 Package 50885403199361 | BD Alaris Pump Infusion Set
10015862 | Primary 10885403221866 Package 50885403221864 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, PE Lined Tubing
10010453 | Primary 7613203021135 Package 37613203021143 | BD Alaris Pump Infusion Set, 1.2 Micron Filter, PE Lined Tubing, SmartSite Y-site
11532269 | Primary 10885403232343 Package 50885403232341 | BD Alaris Pump Infusion Set, 0.2 Micron Filter, Back Check Valve, PE Lined Tubing, 2 SmartSite Y-sites
2202-0007 | Primary 10885403274039 Package 50885403274037 | BD Alaris Pump Infusion Set, 1.2 Micron Filter
2432-0007 | Primary 10885403232329 Package 50885403232327 | BD Alaris Pump Infusion Set, 0.2 Micron Filter, Back Check Valve, 3 SmartSite Y-sites
10010454 | Primary 7613203015806 Package 37613203015814 | BD Alaris Pump Infusion Set, 0.2 Micron Filter, PE Lined Tubing, SmartSite Y-site
2465-0007 | Primary 10885403221941 Package 50885403221949 | BD Alaris Pump Infusion Set, SmartSite Bag Access Non-Vented, 0.2 Micron Filter, PE Lined Tubing, SmartSite Y-site
10015012 | Primary 10885403233951 Package 50885403233959 | BD Alaris Pump Infusion Burette Set, 0.2 Micron Filter, Smallbore Tubing, SmartSite Port (Burette), SmartSite Y-site
2441-0007 | Primary 10885403235047 Package 50885403235045 | BD Alaris Pump Infusion Burette Set, Smallbore Tubing, SmartSite Port (Burette), 3 SmartSite Y-sites
11419365 | Primary 10885403234736 Package 50885403234734 | BD Alaris Pump Infusion Set, Back Check Valve, Manifold, 3-Way Stopcock, 5 SmartSite Y-sites
2423-0007 | Primary 7613203020985 Package 37613203020979 | BD Alaris Pump Infusion Set, Back Check Valve, 2 Ganged 4-Way Stopcocks, 4 SmartSite Y-sites
10813621 | Primary 10885403234514 Package 50885403234512 | BD Alaris Pump Infusion Set, Back Check Valve, 3 Ganged 4-Way Stopcocks, 4 SmartSite Y-sites
10010483 | Primary 10885403232602 Package 50885403232600 | BD Alaris Pump Infusion Set, Vented Syringe Adapter, Smallbore Tubing