## Sheet1
Inoculum | Number | Positive | Most | CONCENTRATION |  |  | Original Thomas's |  | Probability |  | Inoculum/dilution | (Inoc. In pos. tubes)/(Prob. Of a pos. tube) | THOMAS'S FORMULA CALCS |  | ********** | B1,B2,… | B = Sum | No. Tubes | If 0 tubes, then 1 else | **Improb.* | Likelihood of most probable outcome
Per Tube | of Tubes | Tubes | Likely | MPN = | 9.9508 |  | Approx.= |  | per dilution | \TOTAL: | 1.11 | 1.11 | INOC. IN NEG. TUBES |  | Haldane's | from BAM | of the Bi | = 0? | prob each tube pos. | **ratio * | at this dilution, for this MPN.
0.1 | 10 | 5 | 6 | LogMPN= | 0.99786 |  | 9.9704 |  | 0.17313 | By dilution: | 1 | 0.79327 | 0.5 | T = | Approx. | 0.046528 | 0.0768 | 0 | 0.6303 | **calc's: * | 0.24598
0.01 | 10 | 3 | 1 | [5 empty] | 0.050811 |  | 0.1 | 0.31673 | 0.07 | 1.11 | of SE | 0.030273 |  | 0 | 0.094717 | * | 0.3868 | 1.0093e-07 | is the size of
0.001 | 10 | 0 | 0 | 95% CONFIDENCE LIMITS |  |  | Likelihood |  | 0.90528 |  | 0.01 | 0 | 0.01 | P = | * | 0 |  | 0 | 0.0099014 | * | 0.90528 | the final step in the solution iterations.
|  |  | 0 |  | LOW | HIGH | at MPN = |  | 1 |  | 0 | 0 | 0 | 8 | * | 0 |  | 1 | 1 | * | 1 | This should be less than the smallest
|  |  | 0 | MPN = | 4.8906 | 20.2634 | 0.0079637 |  | 1 |  | 0 | 0 | 0 | N = | * | 0 |  | 1 | 1 | * | 1 | inoculum with any positive tubes, or the
|  |  | 0 | LogMPN= | 0.68924 | 1.3065 |  |  | 1 |  | 0 | 0 | 0 | 0.58 | * | 0 |  | 1 | 1 | * | 1 | solution iterations stopped before they
|  |  | 0 |  |  |  | Likelihood of |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1 | should have.
|  |  | 0 | Haldane's Approximation to the |  |  | most likely |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 | Standard Error of Log(MPN): |  |  | outcome = |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 |  | 0.15746 |  | 0.086133 |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 | [5 empty] | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 |  |  |  | Improbability |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 |  |  |  | ratio = |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 | Note: if Likelihood at MPN = #NUM!, |  |  | 0.092458 |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 | then check inocula, numbers of tubes, |  |  | (If under 1.00E-04, |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 | and positive tubes for errors. |  |  | then suspect that |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 |  |  |  | test assumptions |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
|  |  | 0 |  |  |  | have been violated.) |  | 1 |  | 0 | 0 | 0 |  | * | 0 |  | 1 | 1 | * | 1
BEGIN AS FOLLOWS:
To compute an MPN and the 95% confidence limits on the Log of the MPN: Enter the inoculum/tube in column A
for each dilution, replacing the example values from row 3 down, going no farther than row 20. Then | [7 empty] | -0.00010093 | is 1000*(N2-O2), which the iteration tries to drive down to zero.
enter numbers of tubes per dilution in col. B, and numbers of positive tubes in C. Then
type the number that then appears in column J, row 3, into column G, row 2. Hit Enter key.
Then hold down Ctrl key and type "m". Now the MPN, etc. will be correct.
For assistance, contact Dr. Blodgett at Division of Mathematics in FDA/CFSAN, 301-436-1836,
or email robert.blodgett@cfsan.fda.gov.
Note: always leave blanks in columns A, B, and C except where B is greater than zero. Don't leave inocula
amounts in Col. A and put zero in col. B to denote an unused dilution. You'll cause errors, because the "MIN" function ignores
blanks instead of treating them as zeroes. Only allow entries in A, B, and C for actual dilutions used in this test.