## Plan1
Manufacturer Name |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE |  |  | GRADE
Manufacturer Address
Manufacturer DUNS Number
Regulatory Authority
Reviewer
Report Identification
Auditing Organization
Audit Date MM/DD/YYYY
1) Considering Sections 1 to 10 from the MDSAP AU F0019.1.005 Medical Device Regulatory Audit Report, mark in the sections if the information comply, does not comply or partially comply. | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10 | ANSWER: | COMMENTS: | 10
Section 1. Auditing Organization (AO)
Section 2. Audited Facility
Section 3. Audit Type & Criteria
Section 4. Scope of Audit Program/Certification
Section 5. Audit Objectives
Section 6. Audited Facility Description
Section 7. Critical Suppliers
Section 8. Audit History
Section 9. Exclusions and non-applications of requirements in the QMS
Section 10. Outcome of Pre-Audit Activities
2) For each applicable MDSAP process, identify the level of compliance to the expected content and detail, according to MDSAP AU P0019 - MDSAP Quality Management System Audit Reports.
Management
The extent of outsourcing of processes that may affect the conformity of product with specified requirements and verification of the proper documentation of controls in the quality management system.
Verification that management reviews are being conducted at planned intervals and that they include a review of the suitability and effectiveness of the quality policy, quality objectives, and quality management system to assure that the quality management system meets all applicable regulatory requirements.
Description of the organization’s organizational structure and verification as to whether or not the responsibilities and authorities (e.g., management representative) were established.
Description of the organization’s documents and records control.
Verification that the organization has determined the competencies for personnel performing work affecting product quality, including a description of the training procedures and records verified.
Device Marketing Authorization and Facility Registration
Determination as to whether or not the organization has performed the appropriate activities regarding device marketing authorization and facility registration with regulatory authorities participating in the MDSAP.
Measurement, Analysis and Improvement
Determination as to whether or not appropriate sources of quality data have been identified for input into the measurement, analysis and improvement process, including customer complaints, feedback, service records, returned product, internal and external audit findings, and data from the monitoring of products, processes, nonconforming products, and suppliers.
Confirmation that data from these sources are accurate and analyzed using valid statistical methods (where appropriate) to identify existing and potential product and quality management system nonconformities that may require corrective or preventive action.
Description of the quality data sources chosen for review during the audit.
Determination as to whether or not investigations are conducted to identify the underlying cause(s) of detected nonconformities, where possible; and confirmation that investigations are commensurate with the risk of the nonconformity.
Confirmation that corrections, corrective actions, and preventive actions were determined, implemented, documented, effective, and did not adversely affect finished devices; and verification that corrective action and preventive action is appropriate to the risk of the nonconformities or potential nonconformities encountered.
Verification that internal audits of the quality management system are being conducted according to planned arrangements and documented procedures to ensure the quality management system is in compliance with the established quality management system requirements and applicable regulatory requirements and to determine the effectiveness of the quality system.
Confirmation that the internal audits include provisions for auditor independence over the areas being audited, corrections, corrective actions, follow-up activities, and the verification of corrective actions.
Confirmation that the organization has made effective arrangements for gaining experience from the post-production phase, handling complaints, and investigating the cause of nonconformities related to advisory notices with provision for feedback into the Measurement, Analysis and Improvement process; and verification that information from the analysis of production and post-production quality data was considered for amending the analysis of product risk, as appropriate.
Medical Device Adverse Events and Advisory Notices Reporting
Determination as to whether or not the organization’s processes ensure that individual device-related adverse events and advisory notices involving medical devices are reported to regulatory authorities within required timeframes.
A listing of the advisory notices applicable to each of the regulatory authorities participating in the MDSAP. The listing should include whether the advisory notice was reported to the regulatory authority in the jurisdiction where the device is marketed.
Design and Development
A brief description of the design and development project(s) selected for review, and the rationale for the selection of the project(s).
Description of the records reviewed for the selected design and development project.
Verification that risk management activities are defined and implemented for product and process design and development, risk acceptability criteria are established and met throughout the design and development process, and any residual risk is evaluated and, where appropriate, communicated to the customer.
Determination that design and development validation data show that the approved design meets the requirements for the specified application or intended use(s).
Verification that the results of validation includes the presence and completeness of clinical evidence.
Verification that product and production specifications are fully documented prior to design release or design changes for transfer to production. In particular, where applicable, that: a. production parameters derived from process validation / revalidation are reliably transferred to routine production activities, e.g. for a viral inactivation process; for the uniformity of content for medicine/device combinations; for sterilization, requirements for bioburden monitoring, environmental monitoring and controls, dose audits, etc. b. for devices containing tissues, cells or substances of animal or microbial origin requirements for breeding/culturing, veterinary checks, sacrificing/harvesting, segregation, transport, storage, testing and handling of material to be incorporated into a device (e.g. ISO 22442 for animal origin) are followed.
For devices containing medicinal substances, requirements for storage, sampling and identification testing of starting materials in accordance with a recognized pharmacopeia (BP, EP, JP, USP) and a Medicinal Code of GMP, for testing of finished devices against a validated test method or recognized pharmacopeia (BP, EP, JP, USP), where applicable, and requirements for maintaining stability are followed.
Determination that control of design and development changes, including changes to manufacturing processes affecting the characteristics of the medical devices, are subject to design and development verification and validation, as applicable, addressing the new or impacted risks.
For products where design controls are a permitted exclusion, verification that the organization has available and is maintaining adequate technical documentation to demonstrate conformity to safety and performance requirements and other relevant regulatory requirements.
Production and Service Controls
Brief description of the manufacturing, incoming inspection and warehouse areas and production process(es).
Description of the controls for receiving, handling, storage and distribution of products in the warehouse, including traceability controls.
Description of the production processes selected for review, and the rationale for the selection of the processes.
Description of the records reviewed for the selected production processes.
Evaluation of records of maintenance, calibration and incoming inspection relevant to the selected production process(es).
Verification that the selected process has been validated if the result of the process cannot be fully verified, that the validation demonstrates the ability of the process to consistently achieve the planned result, and in the event changes have occurred to a previously validated process, that the processes were reviewed and evaluated, and re-validation performed where appropriate.
If product is supplied sterile, confirmation that the sterilization process is validated, periodically re-validated, and records of the validation are available, that devices sold in a sterile state are manufactured and sterilized under appropriately controlled conditions, and that the sterilization process and results are documented and traceable to each batch of product.
If product needs to be reworked, prior to rework being authorized, confirmation that the organization has made a determination of any adverse effect of the rework upon the product, verification that the rework process has been performed according to an approved procedure, that the results of the rework have been documented, and that the reworked product has been re-verified to demonstrate conformity to requirements.
Verification and description of the utilities (e.g. environmental conditions – air treatment, water treatment, compressed gases) and their validation, maintenance and monitoring status.
Evaluation of environmental controls inside the production areas (e.g. cleaning of the areas, room qualifications, differential pressure, non-viable and viable particle count, etc.).
Evaluation and description of the product release process.
If installation activities are required, verify whether records of installation and verification activities are maintained.
Verification that servicing activities are conducted and documented in accordance with defined and implemented instructions and procedures.
Purchasing
Description of the supplier evaluation files selected for review, and the rationale for the selection of the suppliers for review.
Verification that suppliers are selected for use by the organization based on their ability to supply product or services in accordance with the organization’s specified requirements; and that the degree of control applied to the supplier is commensurate with the significance of the impact of the supplied product or service on the quality of the finished device, based on risk.
Confirmation that the controls defined for the verification of purchased medicinal substances, or purchased tissues, cells or substances of animal or microbial origin have been implemented by the manufacturer. (e.g. GMP for medicinal substances, ISO 22442 for animal origin).
Confirmation that data from the evaluation of suppliers, verification activities, and purchasing are considered as a source of quality data for input into the Measurement, Analysis and Improvement process.
3) Were the nonconformities identified and recorded properly?
Yes, the evidence of the nonconformity, the regulatory requirement related to the nonconformity, and the reason of not fulfillment of the regulatory requirement is clearly identified.
(NO) The evidence of the nonconformity was not adequately identified
(NO) The nonconformity seems to be raised against the wrong QMS or Regulatory requirement or the requirement was not clearly identified (however the statement of the nonconformity is enough for a reliable analysis of the report);
(NO) A possible nonconformity was reported in the audit summaries however the auditor failed to identify the nonfulfilled requirement as a nonconformity.
(NO) The reliability of the report is compromised (the nonconformity is not clear, it is not clear why the requirement was not fulfilled or relevant information is absent);
4) Was the grading of the nonconformity determined properly based on GHTF/SG3/N19?
Yes, the grading of the nonconformity was determined properly
No, the granding of the nonconformity was wrong (higher/lower than it should be)
5) Considering Sections 12 to 15 and 18 to 19 from the MDSAP AU F0019.1.005 Medical Device Regulatory Audit Report, mark in the sections if the information comply, does not comply or partially comply. |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12
Section 12. Significant Deviations from the audit plan
Section 13. Obstacles
Section 14. Follow up of past nonconformities
Section 15. Summary of major changes to audited facility
Section 18. Audit team composition and authors of the audit report
Section 19. Audit report approval
6) Does the report have a conclusion (Section 16)? Mark in the sections if the information comply, does not comply or partially comply. |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
Section 16: Conformity with Audit Criteria
Section 16: Effectiveness
Section 16: Confirmation of Audit Objectives
Section 16: Reliability of Audit
Section 16: Recommendations
TOTAL |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32 |  |  | 32
Note on A70: Select only one situation. If more than one situation occur, select the one that has the smallest grade.
Note on A76: If there is one or more nonconformities that were not properly graded, select "no"